MOHAWK VALLEY COMMUNITY COLLEGE

UTICA and ROME, NEW YORK

COURSE OUTLINE

ET209

REFRIGERATION 2

I.	CATALOG DESCRIPTION:

ET209 Refrigeration 2				C-3, P-4, CR-5

This course covers the components of refrigeration for commercial and industrial systems.  It includes systems requirements and the application of components to develop built-up systems.

Prerequisite:  ET108 Refrigeration 1

or VT133 Refrigeration and Air Conditioning

II.	COURSE OBJECTIVES:

This is the second of three courses on Refrigeration.  On successful completion of this course, the student will be able to service commercial and small industrial equipment.

Student Learning Outcomes:

- The student will be able to service commercial and small industrial equipment.

- The student will be able to adjust a TXV to a proper superheat.

- The student will be able to calculate net oil pressure.

- The student will be able to describe the proper way to adjust a crankcase pressure regulator.

- The student will be able to describe different types of low ambient controls and how they operate.

- The student will be able to describe the purpose of a crankcase heater.

- The student will be able to describe the different types of water cooled condensers.

- The student will be able to calculate water flow rates for closed and waste water systems.

- The student will be able to pipe and wire commercial refrigeration systems including temperature controlled, low pressure controlled and pump down systems.

III.	MAJOR TOPICS:

Topic

1		Expansion Devices

2		Evaporator and the Refrigeration System

3		Condensers

4     	Special Refrigerant, Special components

- Application of Refrigeration Systems

6         Troubleshooting and Operating Conditions

for Commercial Refrigeration

# COURSE NAME:______ET209 Refrigeration 2________________________________________________________________________

## DATE        FACULTY NAME               CHANGE                       INPUT     	       MEASUREMENT	     ASSESSMENT        ACTION

| 12/9/20 | Ken Stover | Revised outline |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |