MOHAWK VALLEY COMMUNITY COLLEGE

UTICA and ROME, NEW YORK

ET222

SYSTEMS DESIGN

# COURSE OUTLINE

I.	CATALOG DESCRIPTION:

ET222 Systems Design			C-2, P-2, Cr-3

This course covers refrigerant piping techniques and designs for commercial and industrial use.  Refrigeration load calculating and equipment selection for commercial and industrial applications and proper air handling techniques are also studied.

Prerequisites:	ET209 Refrigeration 2 and

ET220 Air Conditioning Principles (Spring Semester)

II.	COUSE OBJECTIVES:

To provide the student with the necessary skills needed for

Refrigeration pipe fitting, system sizing and system

selection that is much needed in both the field and off. To

introduce and develop the skills needed for proper methods of

refrigeration pipe sizing, layout, fabrication and

introduction to necessary components to insure proper

operation.

Student learning outcomes:

The student will be able to design proper pipe layout and

sizing.

The student will be able to calculate low and medium

product loads.

The student will be able to describe the effects of pipe sizing on oil return.

The student will be able to describe the effects of pipe sizing on system capacity.

The student will be able to recommend when traps must be installed in a refrigeration system

The student will be able to calculate how much sub-cooling must be added to a system to offset liquid line vertical risers.

The student will be able calculate Delta T’s based on evaporator BTU ratings.

III.	MAJOR TOPICS:

Title

### Suction Line Sizes for R-404

Suction Line Sizes for R-134a

Suction Line Sizes for R-22

Equivalent Feet of Pipe for

Valves and Fittings

Evaporator Temperature Corrections						                          for Suction Line Pressure Drop

Liquid Line Sizes (Receiver to

Expansion Valve)

Pressure Drop of Liquid

Refrigerants in Vertical Risers

Liquid Line Sizer (Condenser to

Receiver) for R-134a, R-22 and R-404

Discharge Line Sizers (Compressor Head to Condenser) for R-134a, R-22                            and R-404

Hot gas line sizing for hot gas

Defrosting

Walk-in Cooler Loads

Walk-in Freezer Loads

Air distribution

Air Distribution - Ducts

Air Distribution - Outlets

Duct Sizing

# COURSE NAME:_____ET222 Systems Designs______________________________________________________________________

## DATE      FACULTY NAME     CHANGE           INPUT     	    MEASUREMENT	       ASSESSMENT      ACTION

| 1/7/2021 | Ken Stover | Revised outline |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |