MOHAWK VALLEY COMMUNITY COLLEGE

UTICA and ROME, NEW YORK

ET224

MODERN HYDRONIC SYSTEMS

COURSE OUTLINE

- CATALOG DESCRIPTION:

ET224 Modern Hydronic Systems		C-2, P-2, Cr.-3

This course covers the design and installation o modern hydronic (water-based) heating and cooling systems in residential and light commercial buildings.  Topics include hydronic heat sources, fluid flow in pipes, circulators, terminal units, system sizing, distribution piping layout, controls, valve selection, expansion tanks, freeze proofing, and balancing.

Co-requisite:	ET220 Air Conditioning Principles

Or permission of instructor

- MATERIALS:

- OBJECTIVES:

Upon completion the student should be able to understand the operation of, and light 	commercial building using state-of-the-art methods and hardware.

Outcomes:		After completing this course students should be able to:

- Complete a heating load estimate for a house

- Select an appropriate hydronic heat source for a system

- Select and size piping, valves and fittings for a hydronic system

- Size and select an appropriate circulator for the system

- Use the Hydronic Design Toolkit software for routine design calculations

- Properly size fin tube baseboard circuits

- Select the appropriate type of hydronic distribution system

- Understand the concept of hydronic radiant panel heating

- Utilize several types of hydronic radiant floor installation methods

- Correctly size and locate a system expansion tank

- Explain the concept underlying primary/secondary piping and be able to apply it

- Understand the operation and piping of an indirect water heater

Assessment:

- During the course each student will complete two take home examinations involving exercise from the text.

- Each student will complete a term project that involves sizing, designing, and documenting a hydronic system in a building of their choice.  The student will be required to use extensive knowledge gained from the course to complete this project.

Student Outcomes:

- To be able to perform an accurate heat loss estimate on a residential or light commercial building.

- To be able to properly size the piping and circulator for a hydronic distribution system using the relationship between heat transfer, fluid flow rate, and fluid temperature drop.

- To understand the simultaneous principals of thermal equilibrium and hydraulic equilibrium in all hydronic systems.

- To understand how hydronic radiant panel heating systems operate, and which systems are best suit to a given application.

- To understand the principal of hydraulic separation within a hydronic system and know at least two methods for achieving it.

- To understand the eight basic hydronic distribution system classifications and know when each is an appropriate selection for a given system.

- DETAILED COURSE OUTLINE:

  - Hydronic  System fundamentals

    - The basic loop concept

    - The basic system components

  - Hydronic Heat Sources

    - Oil and gas-fired boilers

    - Electric resistance boiler

    - Electric thermal storage systems

    - Hydronic heat pumps

  - Properties of Water

    - Specific heat

    - Pressure vs. Temperature relationship

    - Viscosity

4.	Pipe Flow Fundamentals

a)	Laminar vs. turbulent flow

b)	Calculating flow resistance

c)	Pipe sizing

5.	Pump Fundamentals

a)	Types of pumps

b)	Pump performance curves

c)	Pump cavitation

d)	Selecting a pump for a given system

6.	Hydronic Heat Emitter

a)	Finned-tube baseboard

b)	Plate type radiators

c)	Hydronic radiant floor heating

d)	Hydronic fan-coils and air-handlers

7.	Fittings, Valves, and Other Piping Components

a)	Types of valves and their applications(s)

b)	Pressure drop through valves

c)	Air Eliminators

d)	Expansion tanks

e)	Flowchecks, and pressure reducing valves

8.	Distribution Piping Configurations

a)	Single series loops

b)	Dual series circuits

c)	Monoflow systems

d)	Multi-zone systems, (multiple pump and zone valves)

e)	Parallel systems, (direct and reverse return)

9.	Control Systems

a)	Simple thermostat control

b)	Proportional controls

c)	Outdoor rest controls

d)	Multi-boiler system controls

10.	Hydronic Radiant Panel Systems

a)	Radiant versus convective heating systems

b)	Radiant floor heating options

c)	Radiant wall and ceiling heating systems

d)	Sizing and design of radiant panel

# COURSE NAME:	___ET224 Modern Hydronic Systems____________________________________________________

## DATE      FACULTY NAME CHANGE           INPUT     	       MEASUREMENT	     ASSESSMENT        ACTION