MOHAWK VALLEY COMMUNITY COLLEGE

UTICA-ROME, NEW YORK

COURSE OUTLINE

ET244 Electrical Wiring and Codes 2		C-2, P-4, Cr-4

I.	CATALOG DESCRIPTION:

This course includes continuation of electrical techniques with emphasis on design and layout of single and polyphase systems.  Skills to be developed include diagnosis and repair of equipment malfunctions, interpretation of the National Electrical Code, and estimates of project costs and progress coupled with installation techniques.  Electrical systems studied include lighting, heating, ventilation, interior and exterior power distribution, and emergency energy conservation.  Activities are focused on electrical systems.

Prerequisite:	ET234 Electrical Wiring & Codes 1

Or permission of the Department Head

Corequisite: 	ET102 Technical Electricity 2

II.	MATERIALS:

TOOLS:	Applicable wiring devices and equipment as

required by each lab.  Student's personal hand tools.

III.	COURSE OBJECTIVES:

This course is intended to provide the student, who has acquired basic wiring skills, with a dramatically widened field of knowledge and system analysis skills needed to install and maintain electrical equipment encountered in a variety of commercial-industrial environments.  Applicable code requirements will be emphasized.  Familiarization with specialized wiring equipment and industrial plant visitations are encouraged to insure student's ability to function with safety in most industries.  Design, layout and estimating the cost of an electrical system should be considered as an attainable objective of this course.

Student learning outcomes:

To provide the student with a dramatically widened field of knowledge and system analysis skills needed to install and maintain electrical equipment encountered in a variety of commercial-industrial environments.

The student will be familiar with specialized wiring equipment and industrial plant visitations are encouraged to insure student’s ability to function with safety in most industries.

The student will be able to design, layout and estimate the cost of an electrical system.

IV.	DETAILED COURSE OUTLINE:

Power Distribution

A.	Power Generating Equipment

1.	Mechanical Power Plants

2.	Hydraulic Power Plants

3.	Nuclear Power Plants

4.	Fossil Fuel Power Plants

5.	Local and Remote Control of Power Plants

B.	Power Distribution Equipment

1.	Power Plant Transformers

2.	Switch Yards

3.	High Voltage Transmission Lines

4.	Power Grid and Substations

5.	Local High Voltage Power Distribution Lines

6.	Above and Underground Feeder Systems

a.	Radial Systems

b.	Loop Systems

7.	Remote Control of Feeder Systems

8.	Pole Sharing

C.	Electrical Safety

1.	Safety in Proximity to Primary Systems

2.	Electric Services

A.	Commercial-Industrial Specifications

1.	Contract Specifications

2.	National Electrical Code and Regulating Agencies

3.	Construction Plans, Service Orders

4.	Sitework

B.	Substations

1.	Main disconnect to Unit Substations

2.	Unit Substations and Overcurrent Protection

3.	Potential and Current Transformers

C.	Service Entrances

1.	Type of Service

2.	High and Low Voltage Services

3.	Service Conductors and Raceways

4.	Typical Transformer Installations

5.	Transformer Connections

6.	Service Grounding and Bonding

7.	Ground Fault Protection

8.	Switchboards, Main Switch

9.	Transformer Vaults

10.	Grounding Electrodes

11.	Metering Equipment

3.	Panelboards and Subfeeders

A.	Feeder Ducts

1.	Feeder Conductors and Cables

2.	Feeder Troughs and Trays

3.	Feeder Busways and Bus Plugs

4.	Trolley Busways

B.	Panelboards

1.	Power on Distribution Panels

2.	Lighting and Appliance Branch Circuit Panelboards

a.	Main Breaker or Fuses

b.	Number of Circuits

c.	Coordination of Protective Devices

4.	Branch Circuits

A.	Branch Circuit Requirements

1.	Current and Voltage Requirements

2.	Conductor and Conduit Sizing

3.	Appliance Circuits

B.	Branch Circuit Installations

1.	Conduit

2.	Cable

3.	Boxes

4.	Devices

5.	Appliances

6.	Luminaries, Lamps and Controls

Mercury Vapor, Sodium

7.	Low Voltage Remote Control Lighting Relays

Master Control, Transformers, Wiring Methods

C.	Special Systems

1.	Surface Metal Raceway

2.	Multioutlet Assemblies

3.	Floor Boxes and Outlets

5.	Special Wiring and Devices

A.	Explosion Proof Wiring Systems

1.	Classifications of Hazardous Locations

a.	Classes I, II and III

b.	Two Divisions of Each Class

c.	Grouping of Materials According to Minimum

Ignition Energy; Groups A through G Inclusive

d.	Applications e.g. Hospital Operating Room

2.	Explosion Proof Equipment

a.	Containment of Explosion Definition

b.	Construction

1.	Ground-Joint Construction

2.	Threaded-Joint Construction

3.	Close Tolerance

4.	Sealing Cements

c.	Typical Installations

1.	Power Circuits

2.	Lighting Circuits

3.	Flush and Surface Mounting Components

4.	Motor Enclosures

d.	Fittings

1.	Pulling and Junction Unilets

2.	Unions, Switches

3.	Vertical and Horizontal Sealing Unilets

4.	Plugs and Receptacles

5.	Lighting Fixtures

6.	Motor Starter Unilets

3.	OSHA Requirements

a.	N.E.C. and OSHA Regulations

B.	Recreational

1.	Swimming Pools

a.	Lighting

b.	Grounding Methods

6.	Emergency Power Systems

A.	Dual Service Entrances

B.	Transfer Switches

C.	Auxiliary Power Generators

1.	Natural Gas Driven

2.	Gasoline and Diesel Driven

3.	Power Ratings

4.	Uninterruptable Power Supplies

a.	Transistor Switching

7.	Communications

A.	Sound Systems

1.	Intercom System and System Remote Control

2.	Public Address System

3.	FM, AM and Transceiver Antennas

4.	Paging Systems

5.	Telephone System

B.	Signal Systems

1.	Smoke, Heat and Fire Detection Alarm System

a.	Sensors

1.	Heat

2.	Rate of Rise Heat Detector

3.	Smoke Detectors

4.	Recommended Locations

b.	Supervisory Circuits

1.	Alarms and Controls

8.	Equipment and Tools

A.	Hand Tools for Commercial-Industrial Wiring

1.	Hand Benders

2.	Hickey for Rigid Conduit

3.	Machine Benders (hand operated)

a.	Multipurpose Hydraulic Bender

b.	One-Shot Benders

4.	Cable Cutters, Cable Strippers

5.	Augers, Bit Extensions

6.	Hacksaw, Flexsaw

7.	Knockout Punch

8.	Chisels, Nail Pullers

9.	Pin and Stud Setter

10.	Conduit Threader, Pipe Cutter

11.	Crimping Tool (Buchanan)

B.	Power Tools

1.	Pipe Pusher

2.	Anchor Pin Firing Gun

3.	Open-yoke Power Connector Compressor

4.	Machine Conduit Bender-Motor Driven

5.	Power Threader

6.	Hydraulic Knockout Punch

7.	Power Wire Puller

8.	Vacuum Fishing Tools

C.	Equipment

1.	Portable Conduit Rack

2.	Wire Dispenser

EXPERIMENTS

1.	Wiring of switches and receptacles

Chapt. 5 in "Commercial" Book

2.	Transformers and different connections

3.	Delta to Delta Transformers

"Phasing the transformers"

4.	3-Phase "unbalanced" lines

5.	3-Phase "unbalanced" lines

"Delta to Delta"

6.	3-Phase "balanced" lines

"Delta to Delta"

7.	"Open" Delta and "Open" Wye transformers

8.	3-Phase "balanced" lines

"3-Phase 4-Wire Wye"

9.	3-Phase "Half-Wave" Rectification

"3-Phase, 4-Wire Wye"

3-Phase - 3 Pulse Rectifier

10.	3-Phase "Bridge Rectifier"

3-Phase, 4-Wire Wye

3-Phase, 6 Pulse Rectifier

11.	Wiring within the Industrial Plant using 2 ea. 3-phase 		transformers and 1 ea. single phase transformer.

- Wiring a 3-phase sub-station to a 3-phase transformer in a commercial building vault room.

COURSE NAME:_____ET244 Electrical Wiring & Codes 2___________________________________

## DATE          FACULTY NAME               CHANGE                       INPUT     	       MEASUREMENT	     ASSESSMENT        ACTION