# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV101 Refrigeration 1

Course Credit Hours: C - 3, P - 3, CR - 4

Course Prerequisites/Corequisites: None

- Catalog Description:

This course covers basic physics as applied to refrigeration and air conditioning. Topics include flaring and soldering techniques, compressor construction, domestic refrigeration, and characteristics of automatic controls.

- Student Learning Outcomes:

- The student will demonstrate entry level skills to service residential refrigeration units.

- The student will be able to demonstrate the proper method to flare, solder, and braze copper tubing.

- The student will be able to perform an evacuation and refrigerant charging of a residential refrigeration unit.

- The student will be able to identify and describe the components of residential refrigeration units.

- The student will be able to describe the three basic laws of thermodynamics.

- The student will be able to describe the methods of how heat is transferred.

- The student will be able to define sensible heat, latent heat, and specific heat.

- The student will be able to define British Thermal Unit. The student will be able to describe absolute zero.

- The student will be able to convert PSIG to PSIA.

- The student shall write lab reports analyzing outcomes of lab projects.

- Detailed Course Outline:

- Theory

- Matter and Energy

- Refrigeration and Refrigerants

- General Safety Practices

- Tubing and Piping

- System Evacuation

- Compressors

- Domestic Refrigerators

- Domestic Freezers

- Detailed Practicum Outline*:

- Students will confirm they are using the correct copper type by demonstrating to the instructor the labeling of the copper.

- Students will use a copper tubing cutter to cut the correct lengths of copper.

- Students will use a flaring tool kit to flare various sizes of copper pipe.

- Students will use swaging tools of various sizes to swedge copper pipes.

- Students will use sandpaper and pipe brushes to clean copper pipes to prepare it for soldering.

- Students will use a propane torch and soft solder to solder copper pipe connections together.

- Students will use oxygen and acetylene torches and brazing rods to braze copper pipe connections.

- Students will assemble a mid-term copper pipe project using flaring, swaging, soldering and brazing techniques.

- Students will use HVACR equipment and tools such as refrigeration manifold gauges, micron gauge, vacuum pump, dry nitrogen, scale, digital thermometer, pressure/temperature chart and refrigerants to pressurize, evacuate and properly charge a system with its required refrigerant type.

- Students will be provided with HVACR equipment to identify components of a

condenser and an evaporator.

Ken Stover

Date Course Outline was approved:

4/5/2024