# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV110 HVACR Principles

Course Credit Hours: C - 3, P - 3, CR - 4

Course Prerequisites/Corequisites: None

- Catalog Description:

This course covers calculations of heat loss and gain based on residential and commercial levels. Topics include humidification; dehumidification; air mixture problems; and determination of U factors to enhance calculation accuracy. Additional topics include ventilation, exhaust loads and standards, and a working background in psychometrics. The course starts with simple heat properties of air and will progress to complex air mixture properties.

- Student Learning Outcomes:

- The student will be able to plot air properties by utilizing a psychometric chart.

- The student will be able to define wet-bulb and dry-bulb temperatures.

- The student will be able to describe relative humidity.

- The student will be able to define the four factors involved in comfort.

- The student will be able to calculate heat gain and heat loss in residential and commercial applications.

- The student will be able to define K, C, R, and U factors.

- The student will be able to calculate infiltration using both the crack method and the air change method.

- Detailed Course Outline:

- Introduction to Air Conditioning Body Comfort

- Air Cycle

- The Psychometric Chart Applications of Psychometric Terms

- Psychometric Process

- Advanced Psychometric Process

- Psychometrics applied to cooling and dehumidifying

- Psychometrics applied to heating and humidifying

- Sources of Heat

- Cooling and Heating Loads

- Establishing the Air Conditioning Loads

- Principles of Air Taking measures and information from blueprints

- Residential Air Conditioning Heating and Cooling Loads

- Residential Air Conditioning, Heating and Cooling Loads

- Commercial Air Conditioning Heating and Cooling Loads

- Duct sizing

Course Outline Contributors:

Ken Stover

Date Course Outline was approved:

4/5/2024