# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV 160 HVACR Systems

Course Credit Hours: C - 2, P - 6, CR - 4

Course Prerequisites/Corequisites: HV101

- Catalog Description:

This course covers combustion techniques in oil and gas furnaces. CAD cells, stack controls, oil primary controls and other safety devices are studied. Basic principles are applied to solve problems involving heat transfer systems. Types of systems involving both residential and small commercial heating and air conditioning are offered. Split systems, hydronic systems, electric heat and cooling towers are also covered. Heating and air conditioning controls and packaged equipment are also discussed. Heat pumps are included as a primary emphasis.

- Student Learning Outcomes:

- The student will be able to efficiently perform tests on oil furnaces.

- The student will be able to install, wire and repair central air conditioning systems.

- The student will be aware of the need for continuous education in the developments in technology for heating and air conditioning.

- The student will be able to list the components of gun-type oil burners.

- The student will be able to draw a schematic diagram of the oil primary control system and the fan circuit.

- The student will be able to describe the standing pilot, intermittent pilot, direct spark, and hot surface ignition systems.

- The student will be able to describe excess air, combustion air, primary air and secondary air.

- Detailed Course Outline:

- OIL HEAT: Fuel oil properties, Combustion process, Burner construction

- Piping systems

- Oil burner controls, Oil burner wiring

- Combustion analysis, Maintenance & troubleshooting

- GAS HEAT: Natural gas properties, Combustion Process

- Gas burners, Gas valves

- Thermocouples, Ignition methods

- Furnace design, Venting, Controls & wiring

- Efficiency: Maintenance & troubleshooting

- Propane, Electric heat

- HEAT PUMP THEORY: Components Operation

- C.O.P.: Balance point, Supplemental heat staging

- A/C DESIGN: Operating conditionings, Controls & wiring

- Installation, Maintenance & troubleshooting

- Window units, Economizers, Make-up air systems, Indoor air quality

Course Outline Contributors:

Ken Stover

Date Course Outline was approved:

4/5/2024