# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV 201 Refrigeration 2

Course Credit Hours: C - 2, P - 6, CR - 4

Course Prerequisites/Corequisites: HV101

- Catalog Description:

This course covers the components of refrigeration for commercial and industrial systems. It includes systems requirements and the application of components to develop built-up systems.

- Student Learning Outcomes:

- The student will be able to service commercial and small industrial equipment.

- The student will be able to adjust a TXV to a proper superheat.

- The student will be able to calculate net oil pressure.

- The student will be able to describe the proper way to adjust a crankcase pressure regulator.

- The student will be able to describe different types of low ambient controls and how they operate.

- The student will be able to describe the purpose of a crank-case heater.

- The student will be able to describe the different types of water-cooled condensers.

- The student will be able to calculate water flow rates for closed and wastewater systems.

- The student will be able to pipe and wire commercial refrigeration systems including temperature- controlled, low pressure controlled and pump down systems.

- Detailed Course Outline:

- Expansion Devices

- Evaporator and the Refrigeration system

- Condensers

- Special Refrigerant and Special Components

- Applications of Refrigeration Systems

- Troubleshooting and Operating Conditions for Commercial Refrigeration

Course Outline Contributors:

Ken Stover

Date Course Outline was approved:

4/5/2024