# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV250 HVACR Diagnostics

Course Credit Hours: C - 2, P - 2, CR - 3

Course Prerequisites/Corequisites: HV 201

- Catalog Description:

This course covers diagnostic techniques for HVAC/R systems. Topics include commercial refrigeration and supermarket equipment. Students utilize computers and simulations to analyze, test, and repair gas, oil, and heat pump systems.

- Student Learning Outcomes:

- The student will demonstrate the skills to use a volt meter to identify electrical problems.

- The student will be able to demonstrate the proper method to pump down a refrigeration system.

- The student will be able to perform a compressor compression test.

- The student will be able to describe and test for a moisture restriction.

- The student will be able to diagnose an oil burner system

- The student will be able to diagnose a gas heating system.

- The student will be able to diagnose heat pump system.

- The student will be able to identify motor terminals, and check for shorted and grounded motor circuits.

- The student will be able to identify and take corrective action when non-condensables are found in a refrigeration system.

- The student will be able to describe proper refrigerant operating pressures in a system.

- Detailed Course Outline:

- Electrical troubleshooting techniques

- Mechanical system troubleshooting

- Oil and gas system troubleshooting

- A/C and heat-pump troubleshooting

- Refrigeration and supermarket troubleshooting

- Service and repair techniques

Course Outline Contributors:

Ken Stover

Date Course Outline was approved:

4/5/2024