# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV 252 Modern Hydronic Systems

Course Credit Hours: C - 2, P - 3, CR - 3

Course Prerequisites/Corequisites: HV110

- Catalog Description:

This course covers the design and installation of modern hydronic (water-based) heating and cooling systems in residential and light commercial buildings. Topics include hydronic heat sources, fluid flow in pipes, circulators, terminal units, system sizing, distribution piping layout, controls, valve selection, expansion tanks, freeze proofing, and balancing.

- Student Learning Outcomes:

After completing this course students should be able to:

  - Complete a heating load estimate for a house.

  - Select an appropriate hydronic heat source for a system.

  - Select and size piping, valves, and fittings for a hydronic system.

  - Size and select an appropriate circulator for the system.

  - Use the Hydronic Design Toolkit software for routine design calculations.

  - Properly size Finned- tube baseboard circuits.

  - Select the appropriate type of hydronic distribution system.

  - Understand the concept of hydronic radiant panel heating.

  - Utilize several types of hydronic radiant floor installation methods.

  - Correctly size and locate a system expansion tank.

  - Explain the concept underlying primary/secondary piping and be able to apply it.

  - Understand the operation and piping of an indirect water heater.

- Detailed Course Outline:

  - Hydronic System fundamentals

    - The basic loop concept

    - The basic system components

  - Hydronic Heat Sources

    - Oil and gas-fired boilers

    - Electric resistance boiler

    - Electric thermal storage systems

    - Hydronic heat pumps

  - Properties of water

    - Specific heat

    - Pressure vs. Temperature relationship

    - Viscosity

  - Pipe Flow Fundamentals

    - Laminar vs. turbulent flow

    - Calculating flow resistance

    - Pipe sizing

  - Pump Fundamentals

    - Types of pumps

    - Pump performance curves

    - Pump cavitation

    - Selecting a pump for a given system

  - Hydronic Heat Emitter

    - Finned-tube baseboard

    - Plate type radiators

    - Hydronic radiant floor heating

    - Hydronic fan-coils and air-handlers

  - Fittings, Valves, and Other Piping Components

    - Types of valves and their applications(s)

    - Pressure drop through valves

    - Air Eliminators

    - Expansion tanks

    - Flow checks, and pressure reducing valves

  - Distribution Piping Configurations

    - Single series loops

    - Dual series circuits

    - Monoflow systems

    - Multi-zone systems, (multiple pump and zone valves)

    - Parallel systems, (direct and reverse return)

  - Control Systems

    - Simple thermostat control

    - Proportional controls

    - Outdoor rest controls

    - Multi-boiler system controls

  - Hydronic Radiant Panel Systems

    - Radiant versus convective heating systems

    - Radiant floor heating options

    - Radiant wall and ceiling heating systems

    - Sizing and design of radiant panel

Course Outline Contributors:

Date Course Outline was approved: