# MOHAWK VALLEY COMMUNITY COLLEGE UTICA AND ROME, NEW YORK

Course Name: HV 253 HVACR Motors and Controls

Course Credit Hours: C - 3, P - 3, CR-4

Course Prerequisites/Corequisites: ET102

- Catalog Description:

This course is intended for the heating, refrigeration, and air conditioning technician. It provides the HVAC student with theory and practicum in motors & controls and networking protocols. The course has a blend of theory and practice suitable for vocational-technical students or industry practitioners who wish to upgrade their backgrounds. Electrical principles, components, meters, schematics, and systems are discussed and applied to modern small- and large-scale installations.

- Student Learning Outcomes:

After completing this course students should be able to:

- Understand the principles involved in AC motors operations.

- Construct, analyze and operate various motor control circuits.

- Identify, troubleshoot and repair a transformer energized motor control circuit.

- Construct various single and three phase motor control circuits and identify control functions.

- Program AC & DC motor drives.

- Design & troubleshoot complex motor control circuitry.

- Detailed Course Outline:

            - Safety Practices for HVAC (3 periods)

- Overview

- Shocks and good health

- First Aid & CPR

- Protecting Electrical Circuits

- Lock out Tag Out

- Fire Safety

- Short Circuits

- Fire Extinguishers

  - Fundamentals of Electricity (3 periods)

- Overview

- Voltage, Current, resistance

- Basic Parts

- OHMS Law

- Calculations involving OHMS law

- Fundamental Circuits

  - Electrical Circuits (3 periods)

- Switches

- Relays

- Series Connections

- Parallel Connections

- Loads

- Heating Elements

- Solving for Current, and Voltage

- Air Conditioning Systems and Voltages

- Troubleshooting

  - Meters and Tools for HVAC (3 periods)

- The VOM Meter

- Magnetic Theory

- Solenoids

- Measuring Milli Amps

- Reading Current with Clamp on Meter

- Meg ohm meters

- Wrenches for HVAC

- Conduit Bending

- Tools and Tool Belt

  - Interpretation and Application of Simple Wiring Diagrams (3 periods)

- Overview

- Electrical Symbols

- Thermostats

- Controls for Heating

- Electrical Systems for HVAC

- HVAC Loads

  - Push Buttons & Control Stations (4 periods)

- Converting Ladder Diagrams to Wiring Diagrams

- Reading Ladder Diagrams

- Package Air Conditioners

- Window Air Conditioners

- Refrigeration Systems

- Electrical Wiring

  - Magnetism, Alternating Current & Power Distribution (5periods)

- Magnetic Theory

- Electromagnets

- Cores

- Reversing Magnetic Polarity

- Peak & RMS

- Capacitance

- True & Apparent Power

TEST (1 Period)

  - Installing HVAC Systems (3 periods)

- Wiring Sizes and Voltage Drops

- Transformers

- Step up & Step Down

- VA Ratings

- Delta Wye

- Three Phase

  - Single Phase Motors (3 periods)

- Overview

- The Rotor

- The Stator

- The Start Winding

- End Plates

- Locked Rotor Torque

- Centrifugal Switch

- Start Windings

- Speed Changes

  - Single Phase Hermetic Compressors (3 periods)

- Hermetic Compressors

- Basic Parts

- Current relay

- Hot Wire Relay

- Capacitor Start

- Theory of Operation

- CSCR Compressor

- Troubleshooting

  - Three Phase Open Motors and Compressors (3 periods)

- Overview

- The three phase compressor

- Wiring

- Controls

- Changing Connections

  - Relays, Contacts, Solenoids, and Motor Starters (3 periods)

- Overview

- Pull in and hold current

- NEMA Ratings

- Sizing for motors

- Fuses

- Reversing Valves

- Contactor Control

- Solid State Starters

  - Thermostats, Pressure Control, and Timers (3 periods)

- Overview

- Sensing Temperature

- Bimetal Elements

- Programmable Thermostats

- Pressure Controls

- Oil Pressure Switches

- The Fan Switch

- Timer Circuits

14. Controls for Gas, Electric, and Oil Heating Systems (1 period)

- Overview

- Gas Furnace Controls

- The Main Parts

- Igniter Circuits

- Direct Spark Igniters

- The Gas Valve

- The oil heating system

- Boilers

Course Outline Contributors:

William Judycki

Date Course Outline was approved: