MOHAWK VALLEY COMMUNITY COLLEGE

## UTICA AND ROME, NEW YORK

## COURSE OUTLINE

BUILDING SYSTEMS DRAFTING

MT229

## I.	CATALOG DESCRIPTION:

MT229	Building Systems Drafting	C-1, P-4, Cr-3

This course covers the various types of service system drawings, such as heating, ventilation and air conditioning (HVAC), water supply, drainage distribution, fire protection, and control systems.  Both residential and commercial application are emphasized, along with CAD drawing methods.

Prerequisite: MT112 Architectural Drafting.

II.	MATERIALS:

An Architect's triangular scale

Plus Handouts are used.

III.	STUDENT LEARNING OUTCOMES:

1.	Student can identify 6 types of valves and their 	associated symbols on a piping schematic drawing.

2.	Student can create a drawing for placement of radiant 	floor heating circuits and explain why the circuits 	are placed as 	shown on that drawing.

3.	Student can identify at least 15 commonly used 	components and their associated symbols on piping 	schematic drawings.

4.	Student can explain basic operation of the following 	building systems:	Thermal energy storage system, 	active solar heating system, water-source heat pump 	system.

5.	Student can explain how piping sizes are selected for 	a water supply plumbing system within a building

6.	Student can identify all major components in a forced 	air distribution system.

7.	Student can describe at least size different piping 	materials and explain criteria for their use in 	various building systems.

8.	Student can convert a sketch into a finished piping 	schematic with properly proportioned symbols.

IV.	COURSE OBJECTIVE:

To familiarize the student with the terminology, graphic symbols, and layout procedures used on various building systems drawings.  The course will also acquaint the student with design aspects of the systems.  Upon completion of the course, the student should be able to develop engineering sketches into finished construction drawings.

v.	DETAILED COURSE OUTLINE:

Week	Topic

### Piping materials

- Pipe fittings and joint systems

- Valves

- Circulators

- Hydronic Heating Systems

- Hydronic Heating Systems

- Radiant Heating Systems

#### 8	Water-source heat pump systems

#### 9	Electric thermal storage systems

##### 10	Active solar energy systems

- Forced air systems

- Forced air systems

13	Plumbing (water supply)

- Plumbing (drainage, waste, ventilation)

- Fire protection

# COURSE NAME:	MT229 Building Systems Drafting

## DATE      FACULTY NAME               CHANGE                      INPUT     	       MEASUREMENT	     ASSESSMENT             ACTION